## Slide 1: Standardized XML 3.0

## Slide 2: Current challenges - Accessibility
Accessibility
  I’d like to adopt the Standardized XML format. Where do I find the documentation?
  I have a new constituent. How do I get it added?
https://github.com/StandardizedXML/Standardized_XML
  Publicly accessible, free to join
  Multiple owner/contributor options
  Issue reporting
  Version control
  Automated notifications of changes and conversations

## Slide 3: Current challenges - structure
  How do I:
  Deal with sample rechecks?
  Aggregate data from multiple samples over time?
  Segregate NIR and chemistry results?
  Differentiate between multiple methods for measuring the nutrient?
    DM
      48h 60C
      16h 60C followed by 3hr 105C
      Vacuum oven
      Toluene

## Slide 4: Future Considerations
Client Company Database
Lab
Consultant
software
Current
What information will a database need when:
It contains samples from multiple labs
End users do not read lab PDF’s
Customers are submitting test requests via the client company database
Future

## Slide 5: What if we don’t Change?
Competing standards will replace the Standardized XML
  http://www.modusstandard.com
  (maybe we should all adopt the MODUS standard, but their feed related nutrients are minimal)
Labs and software developers will be forced to going back to supporting multiple formats and data transaction tools

## Slide 6: The path forward
V2.9 has be updated with the currently requested fields
    Calibrate StarchCB, NDFCB, GPNCB, FPNCB
    DON_3Ac15Ac, T2HT2, HT2, FUM_B1, FUM_B2, FUM_B3, FusarenonX, Nivalenol, Neosolaniol, DAS, Ochratoxin A
    Fatty acid_ID
    titanium
V3.0 should move to an advanced scheme enabling new functionality

## Slide 7: V3.0 Priorities
Improve structure to allow more robust data transactions and use cases
Clean up nomenclature
Reduce redundancy

## Slide 8: 3.0 file structure
Lab
  Lab information
  Lab information
  Sample
    Sample information
    Sample information
    Test
      Test information
      Test information
    Test
      Test information
  Sample
    Sample information
    Test
    Test information
Each tag also has defined structured:
  Numeric, character string, or date
  Min & max number of characters
Allows for validation of format compliance
Prevents breaking downstream programs and losing information

## Slide 9: Lab identification in XML file
XML 3.0 | Example | Purpose | Type | Min | Max
Lab_id | 001 | Unique within a laboratory name | String | 1 | 20
Lab_name* | XYZ Labs | Identifies laboratory company name | String | 1 | 45
Lab_address_line_1 | 217 E. Main St. |  | String |  | 29
Lab+address_line_2 |  |  | String |  | 29
Lab_city | Arcadia |  | String |  | 18
Lab_state | WI |  | String |  | 2
Lab_country | US |  | String |  | 25
Lab_postal_code | 54612 |  | String |  | 10
Lab_phone | 6083232123 |  | String |  | 12
*required fields |  |  |  |  | 
XML 2.9
Lab_name

## Slide 10: Sample Information
XML 3.0 | Example | Purpose | Type | Min characters | Max characters
Account_number | 4501 | Who is this sample billed to? | String |  | 9
Account_name | JD Consulting |  | String |  | 20
Sub_account_number | 31 |  | String |  | 9
Sub_account_name | Jane Doe |  | String |  | 20
Sample_number* | 00110181234 | Unique sample number within the lab ID | String | 1 | 15
Farm_id | Farmer Linda | No guarantee of being unique | String |  | 20
Reference_id | 1357911 | Supplied by customer to the lab as a unique ID from customer’s system | String |  | 20
Lot_id | North_bunker | Allows aggregation of multiple samples | String |  | 13
Sample_revision | 2 | Used to differentiate reports when sample is retested or reported multiple times with changes. (First sample: sample_revision = 0) | Numeric |  | 5
Sample_type | Mixed Haylage | Could me names or codes used to translate lab and customer sample types | String |  | 20
Date_published* | 10/16/18 | Date report was published by laboratory | Date | 8 | 8
Date_sampled | 10/1/18 | Date sample was taken by customer | Date | 8 | 8
Date_received | 10/9/18 | Date sample was received at the lab | Date | 8 | 8
Description_1 |  |  | String |  | 20
Description_2 |  |  | String |  | 25
Description_3 |  |  | String |  | 25
*required fields |  |  |  |  | 
XML 2.9
Sample_No
Farm_id
Desc_1
Desc_2
Desc_3

## Slide 11: Test information
XML 3.0 tag | Example | Purpose | Type | Min characters | Max characters
Constituent_name* | Ash | Equivalent to current version’s name in name:value pairs. Differentiates constituent from method to allow users to chose how specifically they want to program around method differences | String |  | 25
Method_id | 246810 | Opens the door to giving customers the ability to segregate multiple methods for testing the “same” nutrient. For example, multiple methods to measure DM, mycotoxins, protein solubility. | String |  | 6
Method_name | AOAC942.05_ash |  | String |  | 25
Method_type | NIR | Differentiates chemistry, NIR, and calculations. For example, if a user has NIR and chemistry mineral results, they may want to differentiate them. | String |  | 10
Time_tested | 000001 |  | time |  | 6
Date_tested | 10/12/18 |  | Date |  | 8
Operator | = | Allows communication of detection limits and quantification limits. For example <500 ppb T2 or >5000 nitrates | String |  | 2
Result* | 19.0 |  | Numeric | 1 | 9
Unit* | %DM | Explicitly communicates units | String | 1 | 10
Test_uid | 011809010200-2018091101 | Allow unique id of every test within a laboratory. Potentially relevant to rechecks, quality control, and traceability | String |  | 
Test_comment | “Extreme ash value, consider confirming via chemistry” | Allow communication of test notes that could otherwise be communicated via PDF reports | String |  | 55
*required fields |  |  |  |  | 
XML 2.9
Name
Value

## Slide 12: Calculations
Current reality –
  Some calculations are perceived as added value.
  Unless customers all graduate from one university, they will prefer different systems.
When does a calculation become added value?
Calculation | Example
a / b | uNDF%NDF
(a-c)/a | NDFD
100 – [(a-b)+(c-d)+e+f+g+h] | NFC
… | kd, NEL, milk/ton, RFV, RFQ…

## Slide 13: Redundancy
Measurement | Expressions | Redundant tags
23 amino acids | %DM, %CP | 23
SP, NPN, ADICP, NDICP, NDICPns, RDP, RUP, NH3, Urea | %DM, %CP | 18
10 fatty acids | %DM, %TFA, (%EE) | 20
U%DM | d%DM, u%NDF, d%NDF, 7 time points | 21
Mcal/kg | Mcal/kg, Mcal/CWT, MJ/kg NEL, NEM, NEG, milk/ton, TDN ADF, NRC01, Milk06p, Milk06np, Milk13 | 100
 |  | 182
With today’s computing power this really isn’t a speed issue. Maybe Kyle should just quit whining.

## Slide 14: Two basic options
Idealist
Report all measurements as %DM and create a document for public domain calculations in the github site
Minimizes file size while including all information
“Make the labs do it”
Report every conceivable regurgitation of the measured values
  uNDFom%DM plus uNDFom%aNDFom, aNDFomD%DM, aNDFomD%aNDFom, IVTOMD
  NH3-N%DM plus NH3-CP%DM, NH3-N%N, NH3-N%SP

## Slide 15: Constituent naming
Mostly carried forward from 2.9. Exceptions include:
Units are now explicit
Updated digestibility convention
Updated fatty acid convention
Energy value convention

## Slide 16: Digestibility naming convention
What should be implied by the constituent name vs the method_ID?
  Nutrient: aNDFom, starch, DM, OM, CP, N, TFA
    NDR, aNDR, NDRom, aNDF?
  Time point: 0,3,7,12,24,30,48,72,120,240
  Grind size? Grind type? 4mm Wiley is not equivalent to 4mm cyclone
  Pore size of in situ bags and filtering apparatus’s?
  In vitro vs in situ?
Constituent name
Method 2
Method 1
Method 3

## Slide 17: Proposed Digestibility Convention
Nutrient_Timepoint_grindgrindtype
aNDFom_30_1c
Leaves pore size and IV/IS differentiation to method_ID and method_name
 | Options
Nutrient | NDF, aNDF, aNDFom, NDR, aNDR, aNDRom, Starch, CP, N, DM, OM,ect…
Time point | In hours, no decimals (7h,24h,30h, ect..)
Grind | Screen size in mm, no decimals, As Is = AI
Grind type | Cyclone = c, Wiley = w

## Slide 18: Proposed Digestibility Convention
XML 3.0 tag | Value
Constituent_name | aNDFom_30_1c
Result | 43.01
Unit | %DM
Operator | =
Method_ID | 135791
Method_name | GVS_IV_30h_1c_25micron
uNDFom30%DM
XML 3.0 tag | Value
Constituent_name | Starch_7_4w
Result | 73.2
Unit | %starch
Operator | =
Method_ID | 246810
Method_name | GVS_IV_30h_4w
IVSD7

## Slide 19: Fatty Acid Convention
Need to identify:
  Chain length (18)
  Number of double bonds (0,1,2, ect)
  Cis and trans isomers?
C_chainlength_doubles_cis_trans
  C_18_0
  C_18_1
  C_18_2
  C_18_2_c10_t12
 | C | Chain length | # of double bonds | Cis location | Trans location
Example |  | 18 | 2 | c10 | t12

## Slide 20: Calculations – Energy convention
Type_system
NEL_NRC01
If a/b is added value:
  add units as last segment of the tag, but then we have to support Mcal/kg, Mcal/lb, Mcal/CWT, and MJ/kg
Milk/tonne in metric won’t be popular, but it would be strange to have NEL, NEM, NEG in metric and milk/ton in English
  We could to everything in English units, but scientific applications typically are done in metric
Type | NEL, NEM, NEG
System | ADF, NRC01, Milk06, Milk06np, Milk13, others?
Units | NEL, NEM, NEG, always Mcal/kg
TDN | Energy system unitless (%DM?)
milk/ton | energysystem kg/metric tonne?

## Slide 21: Calculations – kd convention
Nutrient_kd_timepoints_pools
aNDFom_kd_t1_p1
kd rates | Examples
nutrient | aNDFom, Starch, NDR, ect
number of time points included | 1,2,3
number of digestible pools assumed | 1,2
Example | aNDFom_kd_t2_p1

## Slide 22: Are we ready to move to N basis?
Are labs always calculating CP as Nx6.25?
Are models making assumptions about N:CP ratios?

## Slide 23: Versioning
Versions imply changes to:
  Format structure
  Field restrictions – data type, number of characters, required/optional
  Naming conventions
Addition of new optional fields and nutrients does not require a new version

## Slide 24: Now what
v2.9
  All planned documentation is complete and available at github.com/StandardizedXML
v3.0
  Proposed documentation is complete and available at github
  Final decisions need to be made in order to move ahead
  Do we publish all unit expressions or only one per constituent?
    Create XML tags for calculations or publish public domain calcs in github?
  Final decision on digestibility names vs method?
  Is this the right time to move to N based protein fractions?
  Should we adopt water nutrients?